# GUIDANCE ON THE INSTALLATION OF SUB-SURFACE MOUNTED INCREASED DEPTH CYCLE SEGREGATION UNITS

Health and Safety Information

In accordance with the Health and Safety at Work etc Act 1974, the Manual Handling Operation Regulations 1992 (as amended 2004) and the Construction (Design and Management) Regulations 2015, risk assessments should be carried out to protect workers from risks associated with musculoskeletal disorders and work related upper limb disorders.

This may require the use of lifting aids to assist installation.

All relevant health and safety information, including Material Safety Data Sheets can be obtained from Marshalls Technical Advisory Services.

Protection

All necessary Personal Protective Equipment (PPE) should be worn on site, as the site rules dictate, and in addition to this, goggles, masks and gloves should also be worn especially when the units are being cut.  A minimum requirement for personal protection equipment on site should include a hardhat, protective gloves, protective shoes and high visibility clothing.

Foundation

Materials

The units may be bedded directly onto a freshly mixed ST4 strength concrete kerb race, or bedded onto mortar on a hardened kerb race.

Preparation

The concrete foundation shall conform to BS 8500-2 : 2006 and BS EN 206-1 : 2000, designated concrete GEN3 and consistence class S3.

A concrete kerb race foundation should be a minimum thickness of 150mm and extend to a width suitable to accept the width of the units being installed plus the width of the haunching behind the unit.  The concrete race should be fully compacted.  Mesh reinforcement can be used within the race if required.

When laying units onto an adjacent roadbase or sub-base it may be necessary to step the base to cater for certain carriageway thickness.  The concrete race for the kerb unit should therefore be bedded on a suitable base material.

Laying

When laying units on a fully compacted hardened kerb race, lay the unit to line and level onto a 25mm to 50mm thick layer of fresh bedding mortar conforming to a type B mortar as per BS 7533-101:2021.  If the mortar has been mixed for more than two hours or begun to set, it should be discarded and replaced with fresh mortar.

Alternatively units can be laid onto a well-compacted fresh race of concrete with a maximum slump of 35mm.

Units should be bedded onto the bedding layer using a paviours maul to line and level.  String lines should be used to ensure the accuracy of the units being installed to line and level.

Backing

The units should be backed with concrete conforming to BS 8500-2 : 2002 and BS EN 206-1 : 2000, designated concrete GEN3 and consistence class S3.

The backing should extend to a level of 50mm below the surface on either side of the unit

The backing and foundation race should form one monolithic structure.

Jointing

Units should be close jointed, leaving dry gaps of 2mm minimum.

Units should never be butt jointed.

Where units are laid over a jointed concrete pavement, suitable joints should extend through the line of units at a joint and continue through the haunching concrete.

Inclement Weather

Laying operations should be discontinued if weather conditions are such that the performance of the units’ in-situ may be jeopardised.

Laying operations should not be undertaken when the temperature is below 3oC on a falling thermometer and below 1oC on a rising thermometer.

All unfinished areas should be covered in the advent of inclement weather, and stockpiles of materials covered.

Further Information

For technical advice on commercial installations, or when confronted by unusual problems or circumstances, please contact Marshalls Technical Advisory Services on 0370 411 2233, or by email on advisory.services@marshalls.co.uk

References

BS 7533-101 : 2021	Code of practice for the structural design of pavements using modular paving units

BS 8500-2 : 2006	Concrete – Specification for constituent materials and concrete

BS EN 206-1 : 2000	Concrete – Specification, performance, production and conformity

BS EN 1340 : 2003	Concrete kerb units - Requirements and test methods

BS EN 12620 : 2002 + A1 : 2008	Aggregates for concrete

MANUAL OF CONTRACT DOCUMENTS FOR HIGHWAY WORKS

VOLUME 1 SPECIFICATION FOR HIGHWAY WORKS - SERIES 1100 KERBS, FOOTWAYS AND PAVED AREAS

Interpave – The Precast Concrete Paving and Kerb Association www.paving.org.uk

NOTE:  In all instances, reference should be made to current British Standards and Codes of practice as appropriate to the work to be performed.  These guidelines are for the use of products supplied by Marshalls, and should be used in conjunction with the aforementioned design guidance.

The advice given above assumes the use of Marshalls’ products.  If you use any other manufacturer's products, Marshalls can accept no responsibility whatsoever for the performance of those products or generally for the advice it has given.  As Marshalls are not involved in the overall design, management and supervision or the selection of materials or contractors, we cannot be liable for the performance of our products on site and in use.  This does not detract from the customers rights under common law for claims made against the quality of our products should the situation arise.

Reference should be made to Marshalls Technical Advisory Services to ensure that the most current edition of these guidelines is obtained.